Attached pictures of the PA200 system.  The system is with semi-automatic, room temperature performance. The system is operational and sits on top of a vibration Isolation table (see pic). The serial Nr: 4557.  It has Multitoyo optics and a 6 inch chuck (room temp).  The system is in excellent operating condition.

SUSS PA200 Semi-automatic probe station, S/N: 4557

1)  Qty: 1 ambient chuck, 6 inch

2)  Qty: 1 CCD Camera and monitor

3)  Qty: 1 PC, monitor and control cabinet, 19 inch

4)  QTY: 4 Opital Objectives (Multitoyo):

1) M Plan Apo 2    0.055 f=200

2) M Plan Apo 5    0.14  f=200

3) M Plan Apo 10   0.28  f=200

4) M Plan Apo SL50 0.42  f=200

5)  QTY: 6 PH150 Manual Probehead, body mount with coax cable

6)  QTY: 3 Picoprobe model 18c

7)  Qty: 3 PH150 Manual probe head, body mount for Picoprobes 18c

8)  Qty: 1 Power supply for 2 picoprobes

9)  Various needle tips

10) Rectangle probe card adapter

11) Vibraplane Kinetics isolation table